## MES Contract
Trust name: | Wrightington, Wigan and Leigh NHS Foundation Trust
WWLTHNHSFT | MES Contract 1 | MES Contract 2
Supplier | No MES contract at WWL | n/a
Contract Start Date | n/a | n/a
Contract End Date | n/a | n/a
Initial Cost | n/a | n/a
Interest rates (%) | n/a | n/a
Consumables included? | n/a | n/a
Accessories included? | n/a | n/a
Maintenance included? | n/a | n/a

## Clinical Imaging Asset List
Asset ID | Local Identifier | Modality (drop-down list) | Manufacturer | Asset name | Equipment detail | Age | First in Service | Planed replacement date | Replacement schedule (drop-down list) | Ownership structure (drop-down list) | How is the ownership accounted for? (drop-down list) | Maintenance type (drop-down list) | Maintenance provider | Maintenance Service Contract Start Date | Maintenance Service Contract End Date | Maintenance Cost
| Faxitron BSU S/N 20830 | Plain XRay | Hologic | TBXR1 | Plain X-Ray (DR Mobile) | 0 | 2037-03-01 | 2037-03-01 | Breast National funding | Capital purchase (new) | Capital cost | Supplier provides maintenance | Hologic
| LEIGHCRMOB | Plain XRay | GE Medical Systems | LM | Plain X-Ray (CR Mobile) | 18 | 2018-09-01 | 2021-03-01 | Business Case not approved | Capital purchase (new) | Capital cost | External Maintenance | GE Medical Systems
11676 | 17154 | Plain XRay | Xograph Healthcare | RGDXR4 | Plain Film Retrofitted - CR-DR Mobile | 20 | 2002-09-30 | 2022-09-30 | Due for replacement. Business Case pending | Capital purchase (new) | Capital cost | External Maintenance | Xograph Healthcare
11699 | 17263 | Plain XRay | GE Medical Systems | WM(Theatre Recovery) | Plain X-Ray (CR Mobile) | 19 | 2003-11-26 | 2023-11-26 | Due for replacement. Business Case pending | Capital purchase (new) | Capital cost | Supplier provides maintenance | GE Medical Systems
11701 | WR0039 | Plain XRay | GE Medical Systems | WM(Room 3) | Plain X-Ray (CR Mobile) | 9 | 2013-03-28 | 2023-03-28 | Due for replacement. Business Case pending | Capital purchase (new) | Capital cost | Supplier provides maintenance | GE Medical Systems
11659 | 400560 | Plain XRay | Agfa HealthCare | LFLXR1 | Plain X-Ray (DR Static) | 9 | 2013-11-01 | 2028-10-01 | No plans to replace this asset | Capital purchase (new) | Capital cost | Supplier provides maintenance | Agfa HealthCare
11663 | ME0910009 | Ultrasound | Toshiba Medical Systems | LUSHAN | 2D Ultrasound – Obstetric | 12 | 2010-04-01 | 2022-04-01 | Not due for replacement | Other | Operating lease | Supplier provides maintenance | Toshiba Medical Systems
11667 | ME1214087 | Plain XRay | Agfa HealthCare | REFR1 | Plain X-Ray (DR Static) | 8 | 2014-03-31 | 2024-03-31 | Not due for replacement | Capital purchase (new) | Capital cost | Supplier provides maintenance | Agfa HealthCare
11668 | 400199 | Plain XRay | Wolverson X-Ray | REFR2 | Plain Film Retrofitted - CR-DR Static | 18 | 2004-10-01 | 2024-10-01 | Not due for replacement | Capital purchase (new) | Capital cost | External Maintenance | Wolverson X-Ray
11671 | 400203 | Interventional Radiology | Philips Healthcare | RFLXR6 | Interventional Radiology Bi-Plane | 18 | 2004-10-01 | 2027-10-01 | Not due for replacement | Capital purchase (new) | Capital cost | Supplier provides maintenance | Philips Healthcare
11674 | 400200 | Plain XRay | Wolverson X-Ray | RGDXR2 | Plain Film Retrofitted - CR-DR Static | 18 | 2004-10-01 | 2024-10-01 | Not due for replacement | Capital purchase (new) | Capital cost | External Maintenance | Wolverson X-Ray
11678 | ME1011003 | Fluoroscopy | GE Medical Systems | RINTG | Mobile C-arm - Image Intensifier | 11 | 2011-04-01 | 2020-04-01 | Decommissioned | Capital purchase (new) | Capital cost | Supplier provides maintenance | GE Medical Systems
11679 | ME1718027 | Plain XRay | Schimadzu | RM(1)(L1) | Plain X-Ray (CR Mobile) | 5 | 2018-01-01 | 2018-01-01 | Not due for replacement | Capital purchase (new) | Capital cost | External Maintenance | Schimadzu
11681 | 400959 | Plain XRay | GE Medical Systems | RM(3)(scbu) | Plain Film Retrofitted - CR-DR Mobile | 14 | 2008-03-31 | 2008-03-31 | Not due for replacement | Capital purchase (new) | Capital cost | Supplier provides maintenance | GE Medical Systems
11684 | 2132 | Nuclear Medicine | Siemens Healthcare | RNM | Gamma camera/SPECT | 6 | 2016-11-29 | 2026-11-29 | Not due for replacement | Lease hold | Operating lease | Supplier provides maintenance | Siemens Healthcare
11685 | ME1617020 | Ultrasound | Siemens Healthcare | RUSMOB | 2D Ultrasound - General | 5 | 2017-04-01 | 2023-04-01 | Not due for replacement | Capital purchase (new) | Capital cost | Supplier provides maintenance | Siemens Healthcare
11689 | ME1617016 | CT | Siemens Healthcare | RCT | CT scanner with 64 detector rows or more but less than 256 detector rows with iterative reconstruction | 5 | 2017-03-31 | 2017-03-31 | Not due for replacement | Capital purchase (new) | Capital cost | Supplier provides maintenance | Siemens Healthcare
11690 | ME1214012 | MRI | Siemens Healthcare | RMR2 | Open 1.5T | 9 | 2013-07-10 | 2023-06-30 | Due for replacement. Business Case pending | Capital purchase (new) | Capital cost | Supplier provides maintenance | Siemens Healthcare
11691 | 400925 | Plain XRay | Siemens Healthcare | WFLXR1 | Plain X-Ray (DR Static) | 14 | 2008-03-14 | 2023-11-30 | Due for replacement. Business Case pending | Capital purchase (new) | Capital cost | Supplier provides maintenance | Siemens Healthcare
11692 | 400447 | Plain XRay | Agfa HealthCare | WFLXR3 | Plain X-Ray (DR Static) | 16 | 2006-04-13 | 2023-11-30 | Due for replacement. Business Case pending | Capital purchase (new) | Capital cost | External Maintenance | Agfa HealthCare
11693 | ME1718032-4 | Plain XRay | Wolverson X-Ray | WGDXR2 | Decommissioned | 4 | 2018-04-01 | 2018-04-01 | Not due for replacement | Capital purchase (new) | Capital cost | External Maintenance | Wolverson X-Ray
11694 | 400110 | Plain XRay | Wolverson X-Ray | WGDXR4 | Plain Film Retrofitted - CR-DR Static | 18 | 2004-07-21 | 2024-07-21 | Not due for replacement | Capital purchase (new) | Capital cost | External Maintenance | Wolverson X-Ray
11695 | 00583MCA06 | Fluoroscopy | GE Medical Systems | WINT1 | Mobile C-arm - Image Intensifier | 8 | 2014-12-01 | 2024-12-01 | Not due for replacement | Capital purchase (new) | Capital cost | Supplier provides maintenance | GE Medical Systems
11696 | 400162 | Fluoroscopy | GE Medical Systems | WINT2 | Decommissioned | 18 | 2004-08-12 | 2004-08-12 | Not due for replacement | Capital purchase (new) | Capital cost | Supplier provides maintenance | GE Medical Systems
11697 | ME1214020 | Fluoroscopy | Vertec Scientific | WINT3 | Mini C-arm - Image Intensifier | 9 | 2013-06-01 | 2023-06-01 | Business Case not approved | Capital purchase (new) | Capital cost | Supplier provides maintenance | Vertec Scientific
11698 | ME1213042 | Plain XRay | GE Medical Systems | WM(1)(MAIN DEPARTMENT) | Plain X-Ray (CR Mobile) | 9 | 2013-03-31 | 2025-03-31 | Not due for replacement | Capital purchase (new) | Capital cost | Supplier provides maintenance | GE Medical Systems
11705 | ME1415046 | Fluoroscopy | GE Medical Systems | WINT6 | Mini C-arm - Image Intensifier | 10 | 2013-01-01 | 2013-01-01 | Decommissioned | Capital purchase (new) | Capital cost | Supplier provides maintenance | GE Medical Systems
11706 | ME1214062 | Fluoroscopy | Vertec Scientific | WINT7 | Mini C-arm - Image Intensifier | 8 | 2014-03-31 | 2014-03-31 | Not due for replacement | Capital purchase (new) | Capital cost | Supplier provides maintenance | Vertec Scientific
11707 | ME1819010 | Fluoroscopy | GE Medical Systems | WINT8 | Mobile C-arm - Image Intensifier | 4 | 2018-10-01 | 2018-10-01 | Not due for replacement | Capital purchase (new) | Capital cost | Supplier provides maintenance | GE Medical Systems
11711 | 17200 | Plain XRay | Wolverson X-Ray | TXR2 | Plain Film Retrofitted - CR-DR Static | 15 | 2007-10-29 | 2007-10-29 | Not due for replacement | Capital purchase (new) | Capital cost | External Maintenance | Wolverson X-Ray
11712 | ME1819006 | Ultrasound | Canon | ANCR10 | 2D Ultrasound – Obstetric | 9 | 2014-01-01 | 2014-01-01 | Not due for replacement | Capital purchase (new) | Capital cost | Supplier provides maintenance | Canon
11718 | AKC1912085 | Mammography | GE Medical Systems | TBXR2 | 3D Mammography Tomosynthesis - (Screening - static) | 9 | 2013-05-20 | 2013-05-20 | Not due for replacement | Lease hold | Operating lease | Supplier provides maintenance | GE Medical Systems
11719 | 3Dimensions 3D S/N 3DM160700283 | Mammography | GE Medical Systems | TBXR3 | 3D Mammography Tomosynthesis - (Symptomatic - static) | 5 | 2018-02-28 | 2018-02-28 | Not due for replacement | Lease hold | Operating lease | Supplier provides maintenance | GE Medical Systems
11724 | RRFSIMRS1 | MRI | Siemens Healthcare | RMRI | Close Bore 1.5T | 3 | 2020-02-24 | 2020-02-24 | Not due for replacement | Capital purchase (new) | Capital cost | Supplier provides maintenance -Tube Inc | Siemens Healthcare
11725 | RRFGERF03+[@[Local Identifier]] | Fluoroscopy | GE Medical Systems | RINTB | Mobile C-arm - Image Intensifier | 3 | 2019-05-01 | 2019-12-13 | Not due for replacement | Capital purchase (new) | Capital cost | Supplier provides maintenance | GE Medical Systems
11726 | RRFPHUS02 | Ultrasound | Siemens Healthcare | RUSRM1 | 2D Ultrasound - General | 2 | 2020-09-18 | 2020-09-18 | Not due for replacement | Capital purchase (new) | Capital cost | Supplier provides maintenance | Siemens Healthcare
11727 | RRFALU_S04 | Ultrasound | Siemens Healthcare | WUSRM1 | 2D with CEUS / Elastography / Fusion Capabilities - General | 2 | 2019-09-25 | 2020-09-25 | Not due for replacement | Capital purchase (new) | Capital cost | Supplier provides maintenance | Siemens Healthcare
11728 | RRFAGWS14 | Plain XRay | Other | WGDXR2 | Plain film (Digital Plate Retrofitted) | 3 | 2019-12-13 | 2019-12-13 | Not due for replacement | Capital purchase (refurbished) | Capital cost | External Maintenance | Other
11729 | VAN1 | Mammography | Hologic | VAN1 | Mammography Breast Screening Trailer | 3 | 2020-09-18 | 2019-06-06 | Not due for replacement | Lease hold | Operating lease | Supplier provides maintenance | Hologic
11730 | VAN2 | Mammography | Hologic | VAN2 | Mammography Breast Screening Trailer | 3 | 2020-09-25 | 2019-06-24 | Not due for replacement | Lease hold | Operating lease | Supplier provides maintenance | Hologic
11731 | VAN3 | Mammography | Hologic | VAN3 | Mammography Breast Screening Trailer | 3 | 2019-12-13 | 2019-08-05 | Not due for replacement | Lease hold | Operating lease | Supplier provides maintenance | Hologic
| HDI5000_1 S/N 99E1852500 | Ultrasound | Other | LUSRM1 | 2D Ultrasound - General | 4 | 2019-06-06 | 2018-09-01 | Not due for replacement | Capital purchase (new) | Capital cost | Supplier provides maintenance | Other
| RRFGEUS01 | Ultrasound | Philips Healthcare | LUSRM2 | 2D Ultrasound - General | 8 | 2019-06-24 | 2015-03-01 | Not due for replacement | Capital purchase (new) | Capital cost | Supplier provides maintenance | Philips Healthcare
| RRFWINT2 | Fluoroscopy | Hologic | WINT2 | Mini C-arm - Image Intensifier | 2 | 2015-03-01 | 2021-02-01 | Due for replacement. Business Case pending | Capital purchase (new) | Capital cost | Supplier provides maintenance | Hologic
| RRFWINT4 | Fluoroscopy | Hologic | WINT4 | Mini C-arm - Image Intensifier | 2 | 2005-03-01 | 2021-02-01 | Due for replacement. Business Case pending | Capital purchase (new) | Capital cost | Supplier provides maintenance | Hologic
| RRFBRMOB1 | Plain XRay | Wolverson X-Ray | RM | Plain X-Ray (DR Mobile) | 2 | 2021-02-01 | 2031-10-30 | Not due for replacement | Capital purchase (new) | Capital cost | Supplier provides maintenance | Wolverson X-Ray
| RRFBRMOB2 S/N 39618 | Plain XRay | Wolverson X-Ray | RM | Plain X-Ray (DR Mobile) | 2 | 2021-02-01 | 2031-05-29 | Not due for replacement | Capital purchase (new) | Capital cost | Supplier provides maintenance | Wolverson X-Ray
| RRFGELOG1 S/N 6066704WX0 | Ultrasound | GE Medical Systems | LUSRM3 | 2D Ultrasound - General | 2 | 2020-10-30 | 2027-05-27 | Not due for replacement | Other | Capital cost | Supplier provides maintenance | GE Medical Systems
| RRFALUS01 S/N 6066829WX0 | Ultrasound | GE Medical Systems | RUSRM2 | 2D with ability to fuse Other Modalities - General | 2 | 2020-05-29 | 2027-05-27 | Not due for replacement | Other | Capital cost | Supplier provides maintenance | GE Medical Systems
| RRFPHMOB1 Sn:20410356 | Plain XRay | Philips Healthcare | RM | Plain X-Ray (DR Mobile) | 2 | 2020-05-27 | 2030-12-01 | Not due for replacement | Other | Capital cost | Supplier provides maintenance | Philips Healthcare
| RRFPHMOB2 Sn: 20410355 | Plain XRay | Philips Healthcare | RM | Plain X-Ray (DR Mobile) | 2 | 2020-05-27 | 2030-12-01 | Not due for replacement | Other | Capital cost | Supplier provides maintenance | Philips Healthcare
| RRFDRAMX1 S/N DF2402000536WK / Sys No 00348MOB08 | Plain XRay | GE Medical Systems | RM | Plain X-Ray (DR Mobile) | 2 | 2020-12-01 | 2030-10-29 | Not due for replacement | Other | Capital cost | Supplier provides maintenance | GE Medical Systems
| RRFSAMMOB1 GM85 S/N 55YGM3JN600005P | Plain XRay | Samsung | WM | Plain X-Ray (DR Mobile) | 2 | 2020-12-01 | 2030-06-23 | Not due for replacement | Other | Capital cost | Supplier provides maintenance | Samsung
| RRFPHRF03 | Fluoroscopy | Siemens Healthcare | RFLXR7 | Fixed C-arm - Flat Panel Digital Detector | 2 | 2020-10-29 | 2030-11-01 | Not due for replacement | Capital purchase (new) | Capital cost | Supplier provides maintenance | Siemens Healthcare
| RRFLEIGHOPG | Dental | Wolverson X-Ray | LDGXR3 | OPG+Ceph | 1 | 2020-06-23 | 2030-03-20 | Not due for replacement | Capital purchase (new) | Capital cost | Supplier provides maintenance | Wolverson X-Ray
| RRFGEBS01 S/N 3DM160700749. | Mammography | Hologic | TBXR1 | 3D Mammography Tomosynthesis - (Screening and Symptomatic - static) | 1 | 2020-11-01 | 2028-03-15 | Not due for replacement | Capital purchase (new) | Capital cost | Supplier provides maintenance | Hologic
| RRFTOBUS1 | Ultrasound | Canon | BUSRM1 | 2D Ultrasound – Breast | 2 | 2021-03-20 | 2028-01-04 | Not due for replacement | Capital purchase (new) | Capital cost | Supplier provides maintenance | Canon
| MEDPC S/N 006-CT00024250 | CT | Siemens Healthcare | RCT2 | CT Scanner with 256 detector rows or more | 2 | 2021-03-15 | 2029-01-18 | Not due for replacement | Capital purchase (new) | Capital cost | Supplier provides maintenance | Siemens Healthcare
| RRFDEXA01 S/N 303778M | DEXA | Hologic | RDEXA1 | Central Dexa Wide Angle Fan Beam | 2 | 2021-01-04 | 2031-09-16 | Not due for replacement | Capital purchase (new) | Capital cost | Supplier provides maintenance | Hologic
| VAN1T | Mammography | Lyntons | VAN 1 | Digital Mammography (2D) (Screening - trailer) | 3 | 2021-01-18 | 2029-06-06 | Not due for replacement | Lease hold | Operating lease | External Maintenance | Lyntons
| VAN2T | Mammography | Lyntons | VAN 2 | Digital Mammography (2D) (Screening - trailer) | 3 | 2020-09-16 | 2028-06-24 | Not due for replacement | Lease hold | Operating lease | External Maintenance | Lyntons
| VAN3T | Mammography | Lyntons | VAN 3 | Digital Mammography (2D) (Screening - trailer) | 3 | 2019-06-06 | 2028-08-05 | Not due for replacement | Lease hold | Operating lease | External Maintenance | Lyntons
| GE BRIVO S/N 00458MCA01 | Fluoroscopy | GE Medical Systems | LINT | Fixed C-arm - Image intensifier | 8 | 2019-12-01 | 2029-12-01 | Not due for replacement | Capital purchase (new) | Capital cost | Supplier provides maintenance - Non Tube Inc | GE Medical Systems
| AERA (Alliance Medical MRI Scanner) | MRI | Siemens Healthcare | WMR1 | Close Bore 1.5T | 4 | 2029-03-01 | 2029-03-01 | Not due for replacement | Independent Contracted Service | Independent Contracted Service | No Maintenance / NA | Siemens Healthcare
11716 | ME1819034 | Ultrasound | Canon | BUSRM2 | 2D Ultrasound – Breast | 3 | 2019-03-31 | 2019-03-31 | Replacement approved awaiting funds | Capital purchase (new) | Capital cost | Supplier provides maintenance | Canon
| RRFFXBSU1 S/N 20840 | Plain XRay | Hologic | BSUFAX | Plain X-Ray (DR Mobile) | 0 | 2019-06-24 | 2029-03-01 | Trust Funded Asset | Capital purchase (new) | Capital cost | Asset within warranty | Hologic
| RRFRAEIOPG S/N 2112852/2112687 | Dental | Wolverson X-Ray | RGDXR3 | OPG+Ceph | 1 | 2019-08-05 | 2036-11-01 | Trust Funded Asset | Capital purchase (new) | Capital cost | Asset within warranty | Wolverson X-Ray
| RRFPHRF05 | Fluoroscopy | Wolverson X-Ray | RFLXR5 | Fixed C-arm - Flat Panel Digital Detector | 1 | 2021-10-01 | 2036-10-01 | Trust Funded Asset | Capital purchase (new) | Capital cost | External Maintenance | Wolverson X-Ray
| Aplio I Prism S/N 6LC2222191 | Ultrasound | Canon | ANCR10 | 2D Ultrasound with 4D Capability – Obstetric | 0 | 2022-10-01 | 2030-10-01 | Trust Funded Asset | Capital purchase (new) | Capital cost | Asset within warranty | Canon
| RRFAGWS12 TLC Room 1 arcoma S/N | Plain XRay | Wolverson X-Ray | TXR1 | Plain X-Ray (DR Static) | 0 | 2022-03-08 | 2036-03-08 | Trust Funded Asset | Capital purchase (new) | Capital cost | Asset within warranty | Wolverson X-Ray
| RRFALU_S03 Aplio I Prism S/N 6LC2222193 | Ultrasound | Canon | TUSRM1 | 2D Ultrasound with 4D Capability – Obstetric | 0 | 2022-03-24 | 2030-03-24 | Trust Funded Asset | Capital purchase (new) | Capital cost | Asset within warranty | Canon
| RRFAGMOB3 RAEI XR RM 1 ARCOMA | Plain XRay | Wolverson X-Ray | RGDXR1 | Plain X-Ray (DR Static) | 0 | 2022-03-29 | 2037-03-29 | Trust Funded Asset | Capital purchase (new) | Capital cost | Asset within warranty | Wolverson X-Ray
| SHCTVAN WRI MOBILE CT SOMATOM | CT | Siemens Healthcare | WCT | CT Scanner with 256 detector rows or more | 1 | 2022-03-01 | 2029-03-01 | Trust Funded Asset | Independent Contracted Service | Independent Contracted Service | No Maintenance / NA | Siemens Healthcare
| RRFCANUS1 APLIO A550 S/N A4B2182013 AQP lease 1 | Ultrasound | Canon | LGDXR4 | 2D Ultrasound with 3D Capability – General | 1 | 2022-09-01 | 2030-09-01 | Trust Funded Asset | Leasehold | Operating lease | Asset within warranty | Canon
| RRFGEUSWTN Logiq E10S S/N 550381US9 | Ultrasound | GE Medical Systems | WUSRM2 | 2D Ultrasound with 4D Capability – General | 1 | 2022-03-01 | 2030-03-01 | Trust Funded Asset | Leasehold | Operating lease | Asset within warranty | GE Medical Systems
| RRFTOUS01 Canon Aplio i700 S/N 26LC21X2069 | Ultrasound | Canon | RUSRM2 | 2D Ultrasound with 4D Capability – General | 1 | 2022-12-15 | 2030-12-15 | Trust Funded Asset | Capital purchase (new) | Capital cost | Asset within warranty | Canon
| RRFALU_S05 Canon Aplio S/N 6LC21X206 | Ultrasound | Canon | TUSRM2 | 2D Ultrasound with 4D Capability – General | 1 | 2022-12-16 | 2030-12-16 | Trust Funded Asset | Capital purchase (new) | Capital cost | Asset within warranty | Canon